	Item No.
	Item Description

	Aermec 9105959
	Carel Microchiller Control

	Aermec 9110297
	Bypass Valve for FCA's

	Aermec 9110298
	Thermoelec. Actuator FCA

	Aermec 9112745
	Disch Side Pressure Transducer

	Aermec 9113438
	MC2 Microchiller

	Aermec FCA 36
	3.5kW/8.3kW Cassette Fan Coil

	Aermec FCA 36 (RXC)
	3.5kW/8.3kW Cassette Fan Coil

	Aermec FCA 42
	4.1kW/9.5kW Cassette Fan Coil

	Aermec FCA 42 (RXC)
	4.1kW/9.5kW Cassette Fan Coil

	Aermec FCA 62 (RXC)
	4.9kW/11.0kW Cassette Fan Coil

	Aermec FCL44
	3.6kW/3.07kW Cassette Fan Coil

	Aermec FCL84
	6.0kW/8.5kW Cassette Fan Coil

	Aermec FCX102P
	7.62kW/17.02kW Fan Coil

	Aermec FCX42U
	3.40kW/7.40kW Fan Coil

	Aermec FCX82U
	7.42kW/15.14kW Fan Coil

	Aermec RXC
	Electric Heater for FCA 1 Fan Coil

	Aermec RXCB
	Electric  Heater for FCA 2 Fan Coil

	Aermec UR210
	Heat Recovery Unit 2100 m³/h

	Aermec ZX 6 Feet
	Feet Kit to Suit FCX



