| Item No. | Item Description |
| --- | --- |
| Aermec 9105959 | Carel Microchiller Control |
| Aermec 9110297 | Bypass Valve for FCA's |
| Aermec 9110298 | Thermoelec. Actuator FCA |
| Aermec 9112745 | Disch Side Pressure Transducer |
| Aermec 9113438 | MC2 Microchiller |
| Aermec FCA 36 | 3.5kW/8.3kW Cassette Fan Coil |
| Aermec FCA 36 (RXC) | 3.5kW/8.3kW Cassette Fan Coil |
| Aermec FCA 42 | 4.1kW/9.5kW Cassette Fan Coil |
| Aermec FCA 42 (RXC) | 4.1kW/9.5kW Cassette Fan Coil |
| Aermec FCA 62 (RXC) | 4.9kW/11.0kW Cassette Fan Coil |
| Aermec FCL44 | 3.6kW/3.07kW Cassette Fan Coil |
| Aermec FCL84 | 6.0kW/8.5kW Cassette Fan Coil |
| Aermec FCX102P | 7.62kW/17.02kW Fan Coil |
| Aermec FCX42U | 3.40kW/7.40kW Fan Coil |
| Aermec FCX82U | 7.42kW/15.14kW Fan Coil |
| Aermec RXC | Electric Heater for FCA 1 Fan Coil |
| Aermec RXCB | Electric Heater for FCA 2 Fan Coil |
| Aermec UR210 | Heat Recovery Unit 2100 m³/h |
| Aermec ZX 6 Feet | Feet Kit to Suit FCX |