## Cross Comparison Chart (UK_EU)
CROSS COMPARISION TABLE | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
*See Cross Reference Guide for transition info | X87 | X88 | X87 | X88 | X87 | X88
Performance
Flow Rate | 8L/Hour | 8L/Hour | 14L/Hour | 14L/Hour | 50L/Hour | 50L/Hour
Lift Capacity | 8m | 8m | 8m | 8m | 20m | 20m
Head | 5m | 5m | 8m | 8m | 7m | 7m
Sound Level/Range | 21dB(A) | 19–21dB(A) | 21dB(A) | 19–21dB(A) | 23dB(A) | 19–21dB(A)
Air Conditioning Unit Size (Kw) | 8.0Kw | 8.0Kw | 14.0Kw | 14.0Kw | 50.0Kw | 50.0Kw
Pumping Technology
Rotary Diaphragm – Patented | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
Sensing
Temperature Sensor | ✅ | ❌ | ✅ | ❌ | ✅ | ❌
MaxiBlue Reservoir (Thermistor) | ❌ | ❌ | ✅ | ❌ | ❌ | ❌
MegaBlue Reservoir (Thermistor) | ❌ | ❌ | ❌ | ❌ | ✅ | ❌
DrainStik™ (Thermistor) | ❌ | ❌ | ✅ | ❌ | ✅ | ❌
CondenSense™ Reservoir | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Pump & Sensor Features
Automatic Self-Priming | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
Run-Dry | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
360° Mounting | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
Pump Condensate Liquid | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
Pump Bio-film | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
Pump Dirt & Debris | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
Filter-Free | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
Low Maintenance | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
Valveless Design | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
No Wireless Connections | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
Volt Free Relay | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
LED Indicator | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Audio Alarm | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
CS2 Microchip | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
BLDC (Brushless) Motor | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Reinforced Motor Shaft | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Variable Flow Speed | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Vibration Isolation feet | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Soft Start Sequencing | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Automatic Flow Adjustment | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Self-Learning Intelligence (remembers last 100 cycles) | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
CondenSense Integration | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Dynamic Condensate Monitoring | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Adaptive Condensate Detection | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
250+ Touchpoint Settings | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Warranty | 3 Years | *3 Years | 3 Years | *3 Years | 3 Years | *3 Years
Registerable Warranty | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Installation Video Guides | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Specifications
Connector Inlet | 8mm Straight | 8mm Straight | 8mm Straight | 8mm Straight | 8mm Straight | 8mm Straight
Connector Outlet | 8mm Straight | 8mm Straight | 8mm Straight | 8mm Straight | 8mm Straight | 8mm Straight
2m Power Lead | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
0.5m Alarm Cable | ✅ | ❌ | ✅ | ❌ | ✅ | ❌
2m Alarm Cable | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Detachable Mains Cable (swap-out purposes) | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Swap-Out Sensor (Shortened sensor wire) | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
‘L’-Shape Inlet Configuration | ✅ | ❌ | ✅ | ❌ | ✅ | ✅
Forward-Facing Inlet/Outlet | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
DIN Plug Connection | ✅ | ❌ | ✅ | ❌ | ✅ | ❌
Aux Connection | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Integrated Rubber Feet | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Plug 'n' Play Set-Up (Pre-plugged cables) | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Weight | 644g | 640g | 663g | 640g | 976g | 640g
Dimensions (mm) | 138 x 58 x 67mm | 148 x 57 x 74mm | 157 x 58 x 67mm | 148 x 57 x 74mm | 248 x 58 x 68mm | 148 x 57 x 74mm
Voltage | 240V | 115-230V (Dual) | 240V | 115-230V (Dual) | 240V | 115-230V (Dual)
Box Quantity | 25 | 28 | 25 | 28 | 10 | 28
Approvals (UK/EU)
UK CA | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
CE | ✅ | ✅ | ✅ | ✅ | ✅ | ✅
ATEX | ❌ | ❌(Coming soon) | ❌ | ❌(Coming soon) | ❌ | ❌(Coming soon)
Accessory Compatibility
Ducting Kit | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
Mounting Feet | ✅ | ❌(Integrated) | ✅ | ❌(Integrated) | ✅ | ❌(Integrated)
MultiTank – Legacy | ✅ | ❌ | ✅ | ❌ | ✅ | ❌
MultiTank V2 | ❌ | ✅ | ❌ | ✅ | ❌ | ✅
2m Extension Cable | ✅ | ❌ | ✅ | ❌ | ✅ | ❌
2m Aux Extention Cable | ❌ | ✅ | ❌ | ✅ | ❌ | ✅