	Item No.
	Item Description

	SPA043D Evaporator
	3 x 300mm Medium Temp 7.20kW

	SPA044D Evaporator
	4 x 300mm Medium Temp 9.45kW

	SPA081D Evaporator
	1 x 500mm Medium Temp 10.48kW

	SPA082D Evaporator
	2 x 500mm Medium Temp 20.72kW

	SPAE043D Evaporator
	3 x 300mm LT 6.04/MT 7.2kW

	SPBE024D Evaporator
	4 x 250mm LT 4.09/MT 4.87kW

	SPBE043D C02 EC Evaporator
	3 x 300mm LT 3.58/MT 5.77kW

	SPBE043D Evaporator
	3 x 300mm LT 4.92/MT 5.85kW

	SPBE044D Evaporator
	4 x 300mm LT 6.50/MT 7.74kW

	SPBE052D C02 Evaporator
	2 x 400mm LT 6.99/MT 7.71kW

	SPBE052D Evaporator
	2 x 400mm LT 6.37/MT 7.58kW

	SPBE053D Evaporator
	3 x 400mm LT 9.61/MT 11.45kW

	SPBE062D Evaporator
	2 x 400mm LT 7.91/MT 9.42kW

	SPBE063D C02 Evaporator
	3 x 400mm LT 13.15/ MT 14.37kW

	SPBE063D Evaporator
	3 x 400mm LT 9.61/MT 11.45kW

	SPBE065D Evaporator
	5 x 400mm LT19.96/MT 23.77kW

	SPBE084D Evaporator
	4 x 500mm LT 29.49/MT 35.10kW



