| Item No. | Item Description |
| --- | --- |
| SPA043D Evaporator | 3 x 300mm Medium Temp 7.20kW |
| SPA044D Evaporator | 4 x 300mm Medium Temp 9.45kW |
| SPA081D Evaporator | 1 x 500mm Medium Temp 10.48kW |
| SPA082D Evaporator | 2 x 500mm Medium Temp 20.72kW |
| SPAE043D Evaporator | 3 x 300mm LT 6.04/MT 7.2kW |
| SPBE024D Evaporator | 4 x 250mm LT 4.09/MT 4.87kW |
| SPBE043D C02 EC Evaporator | 3 x 300mm LT 3.58/MT 5.77kW |
| SPBE043D Evaporator | 3 x 300mm LT 4.92/MT 5.85kW |
| SPBE044D Evaporator | 4 x 300mm LT 6.50/MT 7.74kW |
| SPBE052D C02 Evaporator | 2 x 400mm LT 6.99/MT 7.71kW |
| SPBE052D Evaporator | 2 x 400mm LT 6.37/MT 7.58kW |
| SPBE053D Evaporator | 3 x 400mm LT 9.61/MT 11.45kW |
| SPBE062D Evaporator | 2 x 400mm LT 7.91/MT 9.42kW |
| SPBE063D C02 Evaporator | 3 x 400mm LT 13.15/ MT 14.37kW |
| SPBE063D Evaporator | 3 x 400mm LT 9.61/MT 11.45kW |
| SPBE065D Evaporator | 5 x 400mm LT19.96/MT 23.77kW |
| SPBE084D Evaporator | 4 x 500mm LT 29.49/MT 35.10kW |