| Item No. | Item Description |
| --- | --- |
| 016-6703 | Ranco LT Thermostat Auto Reset |
| 14T31 (1/2") | Heater Safety Klixon for NHI |
| 14T33 (1/2") | Fan Delay Klixon For NHI |
| 302-3401 | SKY Demountable Drier Shell 1 |
| 307-22 | SKY Oil Seperator 1-3/8" |
| 3210-6410 | Heldon Oil Seperator 5/8" |
| 3210-6418 | Heldon Oil Seperator 1 1/8" |
| 3310-105544 | Heldon Receivor 4.4 Litre |
| 502985 | Clamp |
| 5174 | Welded 100mm Clamp |
| ACR3061434 | SYE Accumulator 7/8" |
| ACR3061855 | SYE Accumulator 1 1/8" |
| Belimo SRVU24.5 | Valve Actuator |
| Beta Clamp 1/2'' | Clamp |
| Beta Clamp 1-1/8'' | Clamp |
| Beta Clamp 3/8'' | Clamp |
| CAA 040 | Gomax 2mm/400mm Straight/Str |
| CG101008 | Pump Fasco JRM 28 Evap Cooler |
| CG101010 | Pump Fasco JRM 38 Evap Cooler |
| CG101012 | Basket Filter Evaporator |
| Channel Clip 110mm | Channel Clip |
| Channel Clip 133mm | Channel Clip |
| Channel Clip 160mm | Channel Clip |
| Channel Clip 43mm | Channel Clip |
| Channel Clip 48mm | Channel Clip |
| Channel Clip 51mm | Channel Clip |
| Channel Clip 60mm | Channel Clip |
| Channel Clip 73mm | Channel Clip |
| Channel Clip 79mm | Channel Clip |
| Channel Clip 83mm | Channel Clip |
| Channel Clip 86mm | Channel Clip |
| Channel Clip 89mm | Channel Clip |
| DEKDFE100BS | Dektite Premium 0.35mm Black |
| DEKDFE104B | Dektite Premium 75-175mm Black |
| EBSSE10C | TX Valve R404A Back Pressure 7 |
| F5204 | Comp Trading 1 1/8" Oil Sepera |
| Insul Clamp 1/2" | Clamp |
| Insul Clamp 1-3/8" | Clamp |
| Insul Clamp 1-5/8" | Clamp |
| Insul Clamp 2-1/8" | Clamp |
| Insul Clamp 2-5/8" | Clamp |
| Insul Clamp 3/4" | Clamp |
| Insul Clamp 5/8" | Clamp |
| Maneurop 5710058P01 | Vibration Feet for 1 Cyclinder |
| Maneurop 5710058P05 | Vibration Feet for 4 Cyclinder |
| Maneurop C/Case Heater | PTC Heater 27 watts |
| O Ring for 1 1/4'' Valve | Teflon Gasket for R/Lock Valve |
| O Ring for 1 3/4'' Valve | Teflon Gasket for R/Lock Valve |
| O Ring for 1'' Valve | Teflon Gasket for R/Lock Valve |
| O Ring for 3/4'' Valve | Teflon Gasket for R/Lock Valve |
| RAN016-6950 | Thermostat Low Temperature -35 |
| RAN48129-3 | Flat Bracket Ranco |
| RANSUL181H | Theban 24hr Timer |
| Viega Propress Adapter 579432 | Fem/Fem 90° Elbow 32mm |
| Viega Propress Adapter 579579 | Female Adapter 25mm x 1" |
| Viega Propress Adapter 579593 | Female Adapter 40mm x 1 1/2" |
| Viega Propress Adapter 579630 | Male Adapter 25mm x 1" |
| Viega Propress Adapter 579647 | Male Adapter 32mm x 1 1/4" |
| Viega Propress Adapter Union | Copper DN32 code 625696 |
| Viega Propress Elbow 579425 | Fem/Fem 90° Elbow 25mm |
| Viega Propress T-Piece 579692 | Female Tee 32mm x 32mm 1/2" |
| Viega Reducer 669027 | Male/Fem Reducer 40mm x 32mm |
| Viega Reducing Coupling 579265 | Fem/Fem Reducer 32mm x 25mm |