	Item No.
	Item Description

	016-6703
	Ranco LT Thermostat Auto Reset

	14T31 (1/2")
	Heater Safety Klixon for NHI

	14T33 (1/2")
	Fan Delay Klixon For NHI

	302-3401
	SKY Demountable Drier Shell 1

	307-22
	SKY Oil Seperator 1-3/8"

	3210-6410
	Heldon Oil Seperator 5/8"

	3210-6418
	Heldon Oil Seperator 1 1/8"

	3310-105544
	Heldon Receivor 4.4 Litre

	502985
	Clamp

	5174
	Welded 100mm Clamp

	ACR3061434
	SYE Accumulator 7/8"

	ACR3061855
	SYE Accumulator 1 1/8"

	Belimo SRVU24.5
	Valve Actuator

	Beta Clamp 1/2''
	Clamp

	Beta Clamp 1-1/8''
	Clamp

	Beta Clamp 3/8''
	Clamp

	CAA 040
	Gomax 2mm/400mm Straight/Str

	CG101008
	Pump Fasco JRM 28 Evap Cooler

	CG101010
	Pump Fasco JRM 38 Evap Cooler

	CG101012
	Basket Filter Evaporator

	Channel Clip 110mm
	Channel Clip

	Channel Clip 133mm
	Channel Clip

	Channel Clip 160mm
	Channel Clip

	Channel Clip 43mm
	Channel Clip

	Channel Clip 48mm
	Channel Clip

	Channel Clip 51mm
	Channel Clip

	Channel Clip 60mm
	Channel Clip

	Channel Clip 73mm
	Channel Clip

	Channel Clip 79mm
	Channel Clip

	Channel Clip 83mm
	Channel Clip

	Channel Clip 86mm
	Channel Clip

	Channel Clip 89mm
	Channel Clip

	DEKDFE100BS
	Dektite Premium 0.35mm Black

	DEKDFE104B
	Dektite Premium 75-175mm Black

	EBSSE10C
	TX Valve R404A Back Pressure 7

	F5204
	Comp Trading 1 1/8" Oil Sepera

	Insul Clamp 1/2"
	Clamp

	Insul Clamp 1-3/8"
	Clamp

	Insul Clamp 1-5/8"
	Clamp

	Insul Clamp 2-1/8"
	Clamp

	Insul Clamp 2-5/8"
	Clamp

	Insul Clamp 3/4"
	Clamp

	Insul Clamp 5/8"
	Clamp

	Maneurop 5710058P01
	Vibration Feet for 1 Cyclinder

	Maneurop 5710058P05
	Vibration Feet for 4 Cyclinder

	Maneurop C/Case Heater
	PTC Heater 27 watts

	O Ring for 1 1/4'' Valve
	Teflon Gasket for R/Lock Valve

	O Ring for 1 3/4'' Valve
	Teflon Gasket for R/Lock Valve

	O Ring for 1'' Valve
	Teflon Gasket for R/Lock Valve

	O Ring for 3/4'' Valve
	Teflon Gasket for R/Lock Valve

	RAN016-6950
	Thermostat Low Temperature -35

	RAN48129-3
	Flat Bracket Ranco

	RANSUL181H
	Theban 24hr Timer

	Viega Propress Adapter 579432
	Fem/Fem 90° Elbow 32mm

	Viega Propress Adapter 579579
	Female Adapter 25mm x 1"

	Viega Propress Adapter 579593
	Female Adapter 40mm x 1 1/2"

	Viega Propress Adapter 579630
	Male Adapter 25mm x 1"

	Viega Propress Adapter 579647
	Male Adapter 32mm x 1 1/4"

	Viega Propress Adapter Union
	Copper DN32 code 625696

	Viega Propress Elbow 579425
	Fem/Fem 90° Elbow 25mm

	Viega Propress T-Piece 579692
	Female Tee 32mm x 32mm 1/2"

	Viega Reducer 669027
	Male/Fem Reducer 40mm x 32mm

	Viega Reducing Coupling 579265
	Fem/Fem Reducer 32mm x 25mm



