	Item No.
	Item Description

	11 W/S
	Motor for STVF 124/STVF 194

	238-8091-EC43
	Seale 910mm EC 865rpm Motor

	238-8P91-EC43
	910mm EC Motor

	238-9H91-EC43
	910mm EC Motor

	30170511
	EC Motor to Suit F35HC

	7W/S
	Motor for STVF47-139

	A3G300 AG10
	FHC EC 300mm Fan Motor

	A3G350-AG03-11
	EC Motor to Suit FHD

	A3G500-AN33
	SAVN EC 500mm Fan Motor

	A3G630-AR85-90
	SAVN EC Fan Motor 630/1140RPM

	A3G800-AN36-9-230
	SAVN EC Fan Motor 800mm/600RP

	A4D450-BG14
	FHC/CS45 Fan 450mm/1380/Rpm3ph

	A4D450-BG14/1
	FHC/CS45 Fan 450mm/1380/Rp 1ph

	A4D630-AH01-01
	EAV6F Condenser Fan 3 Ph

	A4D630-AR01-02
	CD64H Fan Motor 3 Phase

	A4E300AP 2623
	FHC Fan Motor 300mm 1 Phase

	A4E500-AE03-05
	500mm Single Phase

	A6D630-AN01-02
	CD63H Fan Motor 3 Phase

	FN071-VDI.6N.V7P2
	710mm 4 pole 3 ph Fan Assy

	FN080-SDQ.6NV
	800mm 6 Pole Fan Assy

	MA-VIB EVRC2L3A25C-I
	Motor to suit SKOPE

	MA-VIB F18Y00000VB01
	18w Motor for SKOPE

	Nuaire SC710AD41HX2.22
	710mm Motor

	S4D500-CD03 Single Phase
	EBM 500mm

	S4E400-AP-05-3
	EBM 400mm to suit Kueba

	SIG315-GN-01-0
	315 mm EC Motor to suit F31HC

	V330/4P
	Motor HDN/SHDN (YD1-330FG-4)

	V330/6P
	Motor for SHDS (YD1-330FG-6)

	V350/B
	350mm Fan Assy/S3H

	W 26 A
	S2HC/F27HC/NET7T25PVN001

	W24
	Motor for STVF Condenser

	W26
	Motor for FHA/SHA/HA NET1T25PN

	W7/P2
	STVF (ES Range) 23 Watts

	W8
	Motor for SHS Evaporator

	YD1-330FG-4
	330mm 1ph 4P/1.5mt Flying Lead

	YD1-330FG-6
	330mm 6pl, 1 phase No Grill SHDS

	YD1-450-4
	450mm 4 Pole 1 Phase

	YS1-500-4
	500mm 4 Pole 3 phase Sucker



