| Item No. | Item Description |
| --- | --- |
| 11 W/S | Motor for STVF 124/STVF 194 |
| 238-8091-EC43 | Seale 910mm EC 865rpm Motor |
| 238-8P91-EC43 | 910mm EC Motor |
| 238-9H91-EC43 | 910mm EC Motor |
| 30170511 | EC Motor to Suit F35HC |
| 7W/S | Motor for STVF47-139 |
| A3G300 AG10 | FHC EC 300mm Fan Motor |
| A3G350-AG03-11 | EC Motor to Suit FHD |
| A3G500-AN33 | SAVN EC 500mm Fan Motor |
| A3G630-AR85-90 | SAVN EC Fan Motor 630/1140RPM |
| A3G800-AN36-9-230 | SAVN EC Fan Motor 800mm/600RP |
| A4D450-BG14 | FHC/CS45 Fan 450mm/1380/Rpm3ph |
| A4D450-BG14/1 | FHC/CS45 Fan 450mm/1380/Rp 1ph |
| A4D630-AH01-01 | EAV6F Condenser Fan 3 Ph |
| A4D630-AR01-02 | CD64H Fan Motor 3 Phase |
| A4E300AP 2623 | FHC Fan Motor 300mm 1 Phase |
| A4E500-AE03-05 | 500mm Single Phase |
| A6D630-AN01-02 | CD63H Fan Motor 3 Phase |
| FN071-VDI.6N.V7P2 | 710mm 4 pole 3 ph Fan Assy |
| FN080-SDQ.6NV | 800mm 6 Pole Fan Assy |
| MA-VIB EVRC2L3A25C-I | Motor to suit SKOPE |
| MA-VIB F18Y00000VB01 | 18w Motor for SKOPE |
| Nuaire SC710AD41HX2.22 | 710mm Motor |
| S4D500-CD03 Single Phase | EBM 500mm |
| S4E400-AP-05-3 | EBM 400mm to suit Kueba |
| SIG315-GN-01-0 | 315 mm EC Motor to suit F31HC |
| V330/4P | Motor HDN/SHDN (YD1-330FG-4) |
| V330/6P | Motor for SHDS (YD1-330FG-6) |
| V350/B | 350mm Fan Assy/S3H |
| W 26 A | S2HC/F27HC/NET7T25PVN001 |
| W24 | Motor for STVF Condenser |
| W26 | Motor for FHA/SHA/HA NET1T25PN |
| W7/P2 | STVF (ES Range) 23 Watts |
| W8 | Motor for SHS Evaporator |
| YD1-330FG-4 | 330mm 1ph 4P/1.5mt Flying Lead |
| YD1-330FG-6 | 330mm 6pl, 1 phase No Grill SHDS |
| YD1-450-4 | 450mm 4 Pole 1 Phase |
| YS1-500-4 | 500mm 4 Pole 3 phase Sucker |