	Item No.
	Item Description

	Motors
	 

	11 W/S
	Motor for STVF 124/STVF 194

	30170511
	EC Motor to Suit F35HC

	7W/S
	Motor for STVF47-139

	A3G300 AG10
	FHC EC 300mm Fan Motor

	A3G350-AG03-11
	EC Motor to Suit FHD

	A3G500-AN33
	SAVN EC 500mm Fan Motor

	A3G630-AR85-90
	SAVN EC Fan Motor 630/1140RPM

	A3G800-AN36-9-230
	SAVN EC Fan Motor 800mm/600RP

	A4D450-BG14
	FHC/CS45 Fan 450mm/1380/Rpm3ph

	A4D450-BG14/1
	FHC/CS45 Fan 450mm/1380/Rp 1ph

	A4D630-AH01-01
	EAV6F Condensor Fan 3 Ph

	A4D630-AR01-02
	CD64H Fan Motor 3 Phase

	A4E300AP 2623
	FHC Fan Motor 300mm 1 Phase

	A4E500-AE03-05
	500mm Single Phase

	A6D630-AN01-02
	CD63H Fan Motor 3 Phase

	FN071-VDI.6N.V7P2
	710mm 4 pole 3 phase Fan Assy

	FN080-SDQ.6NV
	800mm 6 Pole Fan Assy

	SIG315-GN-01-0
	315 mm EC Motor to suit F31HC

	V330/4P
	Motor HDN/SHDN (YD1-330FG-4)

	V330/6P
	Motor for SHDS (YD1-330FG-6)

	V350/B
	350mm Fan Assy/S3H

	W 26 A
	S2HC/F27HC/NET7T25PVN001

	W24
	Motor for STVF Condenser

	W26
	Motor for FHA/SHA/HA NET1T25PN

	W7/P2
	STVF (ES Range) 23 Watts

	W8
	Motor for SHS Evaporator

	
	

	Heaters
	

	DE 13 KIT
	Heater for SHA/SHD*

	DE 8 KIT
	Heater for SHA/SHD*

	DE 9 KIT
	Heater for SHA/SHD*

	ES 22
	Coil Heater for NHI 2 Fan

	F30HC 03
	Heater for F30HC 3 Fan

	F30HC 642 E 7
	4 x 300mm Fan Evaporator

	F35HC 272 E 4 CH
	3 x 350mm Fan Evaporator

	FB050-4DA Flange Grill
	500mm Paddle Blade/3Phase

	FB050-4ED
	Single Phase 500mm Fan Motor

	FCL16 (1585W)
	Coil/Drain Heater 2F 450/500mm

	FCL36 (3375W)
	Drain Tray Heater for 3F CS/LS

	RCL 16 (1585W)
	Coil Heater for 2 Fan F50

	RCL 24 (2300W)
	Coil Heater for 3 Fan F50

	RCL 32 (3020W)
	Coil Heater for 4 Fan F50

	RCL 36 (3375W)
	Coil Heater for 3F CS/LS Units

	SHC31
	Coil Heater S3HC/F35HC 2 Fan

	
	

	Capacitor 5 Mfd for SHD
	Capacitor 5 MF - SHD

	Capacitor 6.3 Mfd (Lu-Ve)
	Capacitor

	
	



