| Item No. | Item Description |
| --- | --- |
| Motors |  |
| 11 W/S | Motor for STVF 124/STVF 194 |
| 30170511 | EC Motor to Suit F35HC |
| 7W/S | Motor for STVF47-139 |
| A3G300 AG10 | FHC EC 300mm Fan Motor |
| A3G350-AG03-11 | EC Motor to Suit FHD |
| A3G500-AN33 | SAVN EC 500mm Fan Motor |
| A3G630-AR85-90 | SAVN EC Fan Motor 630/1140RPM |
| A3G800-AN36-9-230 | SAVN EC Fan Motor 800mm/600RP |
| A4D450-BG14 | FHC/CS45 Fan 450mm/1380/Rpm3ph |
| A4D450-BG14/1 | FHC/CS45 Fan 450mm/1380/Rp 1ph |
| A4D630-AH01-01 | EAV6F Condensor Fan 3 Ph |
| A4D630-AR01-02 | CD64H Fan Motor 3 Phase |
| A4E300AP 2623 | FHC Fan Motor 300mm 1 Phase |
| A4E500-AE03-05 | 500mm Single Phase |
| A6D630-AN01-02 | CD63H Fan Motor 3 Phase |
| FN071-VDI.6N.V7P2 | 710mm 4 pole 3 phase Fan Assy |
| FN080-SDQ.6NV | 800mm 6 Pole Fan Assy |
| SIG315-GN-01-0 | 315 mm EC Motor to suit F31HC |
| V330/4P | Motor HDN/SHDN (YD1-330FG-4) |
| V330/6P | Motor for SHDS (YD1-330FG-6) |
| V350/B | 350mm Fan Assy/S3H |
| W 26 A | S2HC/F27HC/NET7T25PVN001 |
| W24 | Motor for STVF Condenser |
| W26 | Motor for FHA/SHA/HA NET1T25PN |
| W7/P2 | STVF (ES Range) 23 Watts |
| W8 | Motor for SHS Evaporator |
| Heaters |  |
| DE 13 KIT | Heater for SHA/SHD* |
| DE 8 KIT | Heater for SHA/SHD* |
| DE 9 KIT | Heater for SHA/SHD* |
| ES 22 | Coil Heater for NHI 2 Fan |
| F30HC 03 | Heater for F30HC 3 Fan |
| F30HC 642 E 7 | 4 x 300mm Fan Evaporator |
| F35HC 272 E 4 CH | 3 x 350mm Fan Evaporator |
| FB050-4DA Flange Grill | 500mm Paddle Blade/3Phase |
| FB050-4ED | Single Phase 500mm Fan Motor |
| FCL16 (1585W) | Coil/Drain Heater 2F 450/500mm |
| FCL36 (3375W) | Drain Tray Heater for 3F CS/LS |
| RCL 16 (1585W) | Coil Heater for 2 Fan F50 |
| RCL 24 (2300W) | Coil Heater for 3 Fan F50 |
| RCL 32 (3020W) | Coil Heater for 4 Fan F50 |
| RCL 36 (3375W) | Coil Heater for 3F CS/LS Units |
| SHC31 | Coil Heater S3HC/F35HC 2 Fan |
| Capacitor 5 Mfd for SHD | Capacitor 5 MF - SHD |
| Capacitor 6.3 Mfd (Lu-Ve) | Capacitor |